## Theoretical market framework tables for the analysed demonstrators

### Theoretical market framework tables for the Spanish demonstrator

Table 9.7: Description of the ‘Entire market architecture’ pillar using the Theoretical Market Framework for the OneNet Spanish demo

| Feature | Sub-feature | ESP: LT-D-P-A | ESP: LT-D-P-AE | ESP: ST-D-P-E | ESP: RT-D-P-E | Additional Information |
| --- | --- | --- | --- | --- | --- | --- |
| Submarkets | Number of submarkets | 4 |  |  |  |  |
|  | Gate Opening Time (GOT) | From months to weeks ahead | From months to weeks ahead | Day-ahead or the next hour after the DSO request (limit 11 pm) | The day of delivery Next hour market for intraday service |  |
|  | Gate Closure Time (GCT) | 2 days before activation time | 2 days before activation time | Day-ahead Day ahead market closes at 14:00 for the day ahead product or next hour market for intraday service | Near Real time |  |
|  | Market Time Unit (MTU) | 1 hour | 1 hour | 1 hour | 1 hour | quarter of hour is under consideration |
|  | Sub-market type | Auction market | Auction market | Auction market | Auction market |  |
| Services | Service | Congestion management | Congestion management | Congestion management | Congestion management |  |
| Product | Type of product | Active power Availability | Active power Availability Active power Availability and activation | Active Power Activation Active power Availability (optional) | Active Power Activation |  |
|  | OneNet Harmonised product acquired | Predictive long-term local active | Predictive long-term local active | Predictive short-term local active | Corrective local active |  |
|  | Technical requirements | As defined for Predictive long-term local active | As defined for Predictive long-term local active | As defined for Predictive short-term local active | As defined for Corrective local active | See section 4.2 and [9] |
| Location | Level of spatial granularity | Distribution system areas | Distribution system areas | Distribution system areas | Distribution system areas | Two kinds of areas are considered: Basic areas are a single postal code. Aggregated areas combine basic areas according to DSOs’ needs. |
|  | Responsible System Operator | DSO | DSO | DSO | DSO |  |
|  | Voltage Level where resources are located | MV, LV | MV, LV | MV, LV | MV, LV |  |
| Market Roles and actors | Who is the buyer(s) | DSO | DSO | DSO | DSO |  |
|  | Who is the seller(s) | SP unit and Group | SP unit and Group | SP unit and Group | SP unit and Group |  |
|  | Allowed technologies (Generators, Loads, Storage) | Generators, Loads, Storage | Generators, Loads, Storage | Generators, Loads, Storage | Generators, Loads, Storage |  |
|  | Aggregation method | Area | Area | Area | Area |  |
|  | Aggregation mix allowed | All technologies, but upward and downward flexibility cannot be aggregated in the same bid | All technologies, but upward and downward flexibility cannot be aggregated in the same bid | All technologies, but upward and downward flexibility cannot be aggregated in the same bid | All technologies, but upward and downward flexibility cannot be aggregated in the same bid |  |
|  | Who is the MO | IMO | IMO | IMO | IMO |  |
|  | Participation in submarket | Optional | Optional | Hybrid | Optional |  |

Table 9.8: Description of the ‘Sub-market coordination’ pillar of the Theoretical Market Framework of the Short-Term markets designed for the OneNet Spanish demo

| Feature | Sub-feature | ESP: LT-D-P-A | ESP: LT-D-P-AE | ESP: ST-D-P-E | ESP: RT-D-P-E | Additional Information |
| --- | --- | --- | --- | --- | --- | --- |
| Allocation principle of flexibility | System operators order | Exclusivity for DSO | Exclusivity for DSO | Exclusivity for DSO | Exclusivity for DSO |  |
|  | TSO access to DERs | Not applicable | Not applicable | Not applicable | Not applicable |  |
|  | Commitment to bid selection | Not Applicable | Not Applicable | From LT-D-P-A: Conditional From LT-D-P-AE: Conditional | Not Applicable | Participation forwarding based on the condition established in the availability bid |
|  | Forwarding of bids | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Bid forwarding from ST-D-P-E to intraday energy auction has been conceptually investigated |
| Timeframe for coordination | Market phase for coordination between submarkets | With ST-D-P-E: Procurement | With ST-D-P-E: Procurement | With LT-D-P-A: Procurement With LT-D-P-AE: Procurement | Not Applicable |  |

Table 9.9: Description of the ‘Market optimisation’ pillar of the Theoretical Market Framework of the Short-Term markets designed for the OneNet Spanish demo

| Feature | ESP: LT-D-P-A | ESP: LT-D-P-AE | ESP: ST-D-P-E | ESP: RT-D-P-E | Additional Information |  |
| --- | --- | --- | --- | --- | --- | --- |
| Market optimisation | Decentralised | Decentralised | Decentralised | Decentralised |  |
| Submarkets optimisation strategy | Sequential | Sequential | Sequential | Sequential |  |
| Sub-market clearing objective | Minimisation of cost | Minimisation of cost | Minimisation of cost | Minimisation of cost |  |  |

Table 9.10: Description of the ‘Market operation’ pillar of the Theoretical Market Framework of the Short-Term markets designed for the OneNet Spanish demo

| Feature | Sub-feature | ESP: LT-D-P-A | ESP: LT-D-P-AE | ESP: ST-D-P-E | ESP: RT-D-P-E | Additional Information |
| --- | --- | --- | --- | --- | --- | --- |
| Remuneration scheme |  | Auctions pay-as-bid. | Auctions pay-as-bid. | Auctions pay-as-bid. | Auctions pay-as-bid. |  |
| Remunerated product attribute |  | Active power Availability | Active power Availability Active power availability and activation | Active Power Availability Active Power Activation | Active Power Activation |  |
| Market clearing type |  | Discrete | Discrete | Discrete | Discrete |  |
| Procurement frequency |  | Event-based on DSO call | Event-based on DSO call | Event-based on DSO call | Event-based on DSO call |  |
| Bid properties | Minimum bid size | 10 kW | 10 kW | 10 kW | 10 kW |  |
|  | Bid structure | Simple | Simple | Simple | Simple |  |

Table 9.11: Description of the ‘Network representation’ pillar of the Theoretical Market Framework of the Short-Term markets designed for the OneNet Spanish demo

| Feature | ESP: LT-D-P-A | ESP: LT-D-P-AE | ESP: ST-D-P-E | ESP: RT-D-P-E | Additional Information |
| --- | --- | --- | --- | --- | --- |
| Representation of network constraints | Comprehensive grid data; Partial grid data | Comprehensive grid data; Partial grid data | Comprehensive grid data; Partial grid data | Comprehensive grid data; Partial grid data |  |
| Timing of the inclusion of network constraints | Definition of procurement areas Procurement phase | Definition of procurement areas Procurement phase | Definition of procurement areas Procurement phase | Definition of procurement areas Procurement phase |  |